ChemProof[image: image1.png]


Polymers

PERMATEC 

5000 

For Protection Against Industrial Chemicals
DESCRIPTION 

PERMATEC 5000 is a 100% solids epoxy novolac lining system, ideally suited for concrete applications.  It is a self- leveling system and can be applied as a slurry/broadcast and/or reinforced coating system.  PERMATEC 5000 is specifically designed to withstand attack from 98% sulfuric acid, as well as most other organic chemicals and many solvents.  Along with the outstanding chemical resistance, resistance to mechanical abuses is second to none. 

The vertical formulation of PERMATEC 5000 is trowel applied at 1/8 inches (125 mils). 

TYPICAL APPLICATIONS
· Process floors
· Containment basins

· Trenches

· Sumps 

· Tank bases

· Any area in general where harsh chemicals are used
FEATURES 

PERMATEC 5000 allows for a fast application where outstanding chemical and wear resistance are required. PERMATEC 5000 can be installed over most sound floors including old or new concrete and most types of repair mortars. At varying thicknesses up to 1/4 inches, the PERMATEC 5000 system provides long term chemical resistance for splash and spill, or immersion in a wide range of chemicals. (For specific 
recommendations refer to the “Chemical Resistance Guide" and your local distributor.) 
PERMATEC 5000 is similar to PERMATEC 3000 & 4000 but provides a higher degree of chemical 
resistance to concentrated acids, caustics and solvents.  As with all PERMATEC systems, PERMATEC 5000 provides excellent physical protection even in the harshest industrial settings.   

OTHER FEATURES INCLUDE:
· Rapid cure resulting in minimal downtime

· 100% non-porous

· Odor free 

· Non-skid safety finish

· Can be applied over damp concrete
· 100% Solid by volume

· 0 VOC as supplied by manufacturer

TYPICAL PROPERTIES

Solids, by Volume
100 %

Compressive Strength


ASTM C579
14,000 psi

Flexural Strength

ASTM D790
5,500 psi

Tensile Strength

ASTM D307
2,200 psi

Bond Strength to
Exceeds tensile strength

Concrete ASTM D4541
of concrete.


Failure in concrete
Taber Abrasion
Loss/1000
ASTM D4060
cycles =25 mg
CS 17 Wheels


Water Absorption
0.10%

ASTM D413
Maximum

PACKAGING AND COVERAGE
PERMATEC 5000 is available in 20 square foot patch kits, 100 square foot kits (both based on ¼ inches) and 5 gallon units.  

CURE TIME

The cure time of PERMATEC 5000 and other resinous systems are very dependent upon the temperature of the substrate.  The ambient temperature may not be the same as the substrate temperature.  For example, during winter concrete may be colder than the surrounding ambient temperature.  As temperatures during the day may increase, large masses of concrete will be much slower to react.  During summer days direct sunlight will increase the concrete temperature over that of ambient air.  The substrate temperature should be monitored and remain at or above 60° F.

Service (hours)
65°F
75°F
90°F

Foot Traffic
12
8
6
Light Chemical
12
10
10

Forklift
36
24
12
*Where heavy chemical abuses are anticipated, longer cure

times may be required.  Contact ChemProof Polymers or

the local distributor for specific recommendations.  These times are after the final coat has been applied.
SURFACE PREPARATION
NEW CONCRETE – The concrete should be well cured for a minimum of 10 (ten) days, per ACI 308-81, (R-1986), clean, dust-free and free of all contaminants.  Mechanical methods such as sandblasting, scarifying or shot blasting should be employed to remove the weak layer of surface laitance.  A minimum tensile strength of 200 psi is required of the prepared surface.  Acid etching with muriatic acid is acceptable but less desirable.  Care must be taken to completely remove all residual acid prior to the application of PERMATEC 5000.
EXISTING CONCRETE – Concrete must be structurally sound and free of all contaminants.  Weak or contaminated concrete must be removed until sound concrete is realized.  Old coatings, toppings, waxes, oils, etc. must be removed prior to the application of PERMATEC 5000.

MIXING
Prior to application, the PERMATEC 5000 (Resin, Hardener and Silica) and the substrate should be between 65 and 90° F.

Premix the Part A (Resin) for appx. 30 seconds with a Jiffler type mixer prior to adding the Part B (Hardener).  After adding Part B mix for an additional 1 minute before pouring onto the substrate.

APPLICATION METHODS
Basic Broadcast

In order to achieve a 60 mil system, apply a 22 mil (73 sq ft/gal) basecoat and for a 125 mil system, apply a 48 mil (34 sf/gal) basecoat.  Within 20 minutes of the basecoat being applied broadcast to excess using a 20/40 mesh silica.  Once the basecoat is cured, apply a 10-16 mil topcoat utilizing squeegees and short nap paint rollers.
Basic Broadcast Reinforced
A 1.5 oz chopped, or a fiberglass scrim cloth can be added to the basecoat of the 125 mil system prior to the silica broadcast.

Slurry Broadcast 
Split the mixed Pt A and Pt B into two 5 gallon buckets or add entire unit into a 3 cf mortar mixer.  Slowly mix in a 2:1 by weight ratio of silica to liquid (appx 1-50 lb. bag per 2.5 gallons).  Apply to substrate to appx. 1/8 or 3/16 inch and within 15 minutes broadcast silica to excess.

Slurry Broadcast Reinforced

Apply a basecoat of 35 mils and embed the fiberglass of choice.  Allow to cure and commence the desired slurry broadcast system.
Note:  The above systems have their “vertical” (rolling or troweling) counterparts.
STORAGE and SHELF LIFE

PERMATEC 5000 should be stored at 50-90° F out of direct sunlight.  All containers should remain unopened until ready for use.  If stored as set out above, PERMATEC 5000 has a minimum shelf life of one year.
WHERE PERMATEC 5000 SHOULD NOT BE INSTALLED

PERMATEC 5000 should not be applied over substrates:

· subject to extreme hydrostatic pressure

· which are unsound
· which are contaminated and cannot be cleaned.

· at temperatures below 60° F (Consult ChemProof Polymers).

SAFETY

Read Safety Data Sheets (“SDS”) before using.  PERMATEC 5000 contains blended Epoxies as the resin and blended Amines as the hardener.  Protective clothing and gloves are recommended to 

prevent sensitization to these materials.  In case of ingestion or eye contact, it is advisable to contact a physician immediately.  SDS are available for this product upon request.

WARRANTY

ChemProof Polymers, Inc. warrants our products to be free of manufacturing defects in accord with applicable ChemProof quality control procedures.  Liability for products proven defective, if any, is limited to replacement of the defective product or the 

refund of the purchase price paid for the defective product as determined by ChemProof Polymers, Inc.  No other warranty or guarantee of any kind is made by ChemProof Polymers, expressed or implied, statutory, by operation of law or otherwise, including merchantability and fitness for a particular purpose.
The full product warranty is available at www.chemproof.com.

CLEAN-UP
All mixing and application equipment should be cleaned immediately after use.  If this is done, soap and water or biodegradable cleaners can be used.  If the material has begun to set, more aggressive solvents will be necessary.  Before using solvents, refer to their respective SDS for handling considerations.
RELATED & ANCILLARY PRODUCTS
PERMATEC 3000

Epoxy Floor Coating/Topping

PERMATEC 4000

Modified Epoxy Floor Coating/ Topping

PERMAGROUT E

Epoxy Grout/Resurfacer

PERMAFLEX 1100

Flexible Epoxy Underlayment

Related Vertical Products

CONTACT INFORMATION
ChemProof Polymers, Inc.

2750 Charles Page Blvd.

Tulsa, OK  74127

Phone:  918-584-0364

Fax:      918-584-0366

sales@chemproof.com

PT5000  2   Page
chemproof.com
(918)584-0364

[image: image1.png]